| Ministry of Higher Education |  | وزارة التعليم العالي والبحث العلمي |
| --- | --- | --- |
| Al-Rasheed University College |  | كلية الرشيد الجامعه |

Pharmaceutical Chemistry

Lab. (3)

Assay of Aspirin

Presented  By

M.Sc Tiba M. Hameed

Assay of aspirin tablets ( back titration)

1-Introduction

(assay ) : it's an analytical process used to determine the quantity of a compound in a given sample . There are two analytical methods :

1-qualitative analysis : determines the presence or absence of a compound in a given sample , but do not determine the quantity .

2- quantitative analysis : determine the quantity of a compound in a given sample

Methods of quantitative analysis

1-volumetric analysis (titrimetric )

2-Gravimetric analysis

3-spectrophotometric analysis

### Requirements of titrimetric analysis

### 1-The reaction can be represented by a chemical equation.

2-The reaction should be relatively fast.
3-The reaction should be fully completed & irreversible.
4- easily detected end point.

Types of Titration:

### 1 - Forward titration (direct titration).

2 - Back titration (indirect titration).

### Back Titration:

It includes the addition of an excess of a standard solution to a weighted
amount of a sample and then the excess unreacted standard  solution is
determined by titration with another standard solution .

Back Titration Is Used For:

1 - Volatile substances, e.g., NH 3 .
2 - Insoluble or slightly soluble substances, e.g. CaCO3
3 - Substances having very fast quantitative analysis only in the presence of excess of reagent, e .g ., Lactic acid & Aspirin .
4 - Substances which decompose on heating, e.g. Formaldehyde.

### 2-Principle:

The determination of the amount of aspirin present in a tablet dosage
form is done by alkaline hydrolysis of aspirin using N/ 2 NaOH standard
solution followed by back titrating of the excess unreacted alkali using
N/ 2 HCl std . solution & phenol red as indicator .

### • Aspirin readily dissolved in dilute NaOH solution and hydrolyzed

completely by heating for 10 minutes with an excess of a base .

• it’s necessary to carry out a blank experiment without the aspirin .
In order to:

1 - Minimize any error due to small unavoidable losses.
2 - Heating and cooling an alkaline liquid results in an apparent
change in strength if certain indicators are used . This change may be due to the interaction of the reagent with the glass or due to , the absorption of atmospheric CO 2 ,

• CO 2 is rapidly absorbed by the hot alkaline solution to form
sodium carbonate .

### • In the back titration with the standard acid the liberated CO 2

causes a color change of the indicator before the actual end point .

Procedure :

1-weigh a quantity of aspirin tablet powder equivalent to 0.5 g of aspirin

2- add 30 ml of 0.5 N NaOH solution.

3-Boil gently for 10 min.

4- titrate against  0.5 N HCl using phenol red as indicator .

5-Repeat the process without the powder.

*the difference between the two titrations represents the amount of 0.5N NaOH required by the aspirin .

Calculations :

1 mole of aspirin = 2 mole of NaOH
180/2 g of aspirin = 1 mole of 0.5 N NaOH in 1000ml 
x g of aspirin        =  1 ml of 0.5N NaOH

X= 0.0454 g of aspirin equivalent to 1ml of 0.5N NaOH

For example = v1 = 28 ml

V2= 19

V 2 -V 1 = 28 -19 = 9 ml
9 x 0.045 = 0.405 g of aspirin in the sample

% of aspirin in the tablet

% purity (% aspirin in tablet) =found (X) gm / actual (0.5 gm) x 100

Report of lab.3 :

Name of experiment :

Aim of the experiment :

Calculations :

Wt. of aspirin :

Purity of the aspirin in the tablets :