كلية الرشيد الجامعة

قسم تقنيات المختبرات الطبية

المرحلة الثانية

Microbiology practical

Lab 2

Sterilization and disinfection

Presented by

M.Sc Hawraa D. Salman

Methods of sterilizations

- Physical methods (Heat sterilization, radiation, gases)

- Chemical methods

- Mechanical method

Physical methods of sterilization

A/ Heat sterilization

- Dry heat sterilization:

- Red heat used to sterilize wire loop , point end of forceps

- Flaming : used to sterilize tip of tubes , spreaders (which are flamed in ethanol)

- Incineration: used in pathological fuming materials.

- Hot air oven :( 160-180 Cº for 2-4 hr.) used to sterilize glass petri dishes , flask

2) Moist heat sterilization

- Temperature below 100Cº,

•	Pasteurization (63Cº for 30 min), to sterilize milk.

- Temperature at 100Cº

- Boiling    (5_10min) to sterilize rubber tube, glass syringes

- Steaming (tyndalilzation ) steam 30 min for 3 days, used to sterilize gelation media, sugar media.

C) Temperature above 100Cº (autoclave)

-The condition in this instrument (121Cº, 15 min, 15poun/inch2), used for sterilization of:

- surgical tools and clothes

- culture media and to sterilize inoculated media

- swab

- Distil water ,solution sealed in containers

B) Radiation sterilization like X-rays Gamma rays.

Used in:

- Sterilize  cabinet

- Sterile operation rooms.

C) Gases sterilization

- Formaldehyde (Room)

- Ethylene oxide ( disposable syringes and petri dish)

Mechanical method: by filtration

The material is effect by heat (Heat sensitive solution)

EX :( serum protein, sugar, vaccine, antibiotics, toxins) are sterilized by filtration.

Chemical methods of sterilization

- Antiseptics : it is chemical substance that kills micro-organisms living tissue

EX: 70% alcohol, 10% Dettol to sterilize hand.

- Disinfectant : it is a chemical substances used to sterilize non-living tissue objects

EX: phenol, 5% formalin to sterilize refrigerator, bench, floor.

The disinfectant may be describe either as:

Bactericidal: any chemicals substance which kills the bacteria and their spores.

Bacteriostatic: any chemical substance which inhibits the growth and multiplication of bacteria but do not necessarily kill them.